Name: \_\_\_\_\_\_\_\_\_\_\_ Height: \_\_\_\_\_\_\_ Weight: \_\_\_\_\_\_\_\_\_ Date of Birth: \_\_\_\_\_\_\_\_\_

|  |  |  |  |
| --- | --- | --- | --- |
| Day |  | | |
| check list | | In. | check |
| scan for metal | |  |  |
| consent form | |  |  |
| security form | |  |  |
| instruction explain | |  |  |
| download the lasted experiment scripts | |  |  |
| PRACTICE1.psyexp | |  |  |
| PRACTICE\_2.psyexp | |  |  |
| Expt\_DEF\_calibration.psyexp | |  |  |
| Expt\_DEF\_scripted.py | |  |  |
| download the last CSV files (with name "fMRI", "session", "block") | |  |  |
| have the subject change clothes | |  |  |
| start "PRACTICE1” | |  |  |
| start "PRACTICE\_2” | |  |  |
| MRI preparation | | | |
| check if the subject need glasses or not | |  |  |
| put papers on the bed | |  |  |
| ear plug | |  |  |
| put the ear headphone to subject's ears and have the subject lay down | |  |  |
| show the subject the response keypad | |  |  |
| show the subject the squeeze ball and test the squeeze ball | |  |  |
| put the head coil on | |  |  |
| sandbag wires | |  |  |
| register (cm,kg) | |  |  |
| turn off tunnel lights | |  |  |
| turn on both lights in the room | |  |  |
| start sessions/runs | | | |
| run 0 | | | |
| localizer | |  |  |
| structural scan | |  |  |
| start "Expt\_DEF\_calibration" | |  |  |
| run 1 | | | |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 1 |  |
| run 2 | | | |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 2 |  |
| run 3 | | | |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 3 |  |
| run 4 | | | |
| check response keys | |  |  |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 1 |  |
| run 5 | | | |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 2 |  |
| run 6 | | | |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 3 |  |
| run 7 | |  |  |
| check response keys | |  |  |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 1 |  |
| run 8 | | | |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 2 |  |
| run 9 | | | |
| reset trigger box | |  |  |
| start "EXPt\_DEF" | |  |  |
| start scan | |  |  |
| copy parameters | |  |  |
| session | |  |  |
| block | | 3 |  |